## Slide 1: Position Measurements with CRV
Using Arrival Time and Light Yield Differences
Test runs 1002,1005-1018 from June 2017

## Slide 2: Go Figure (Test Beam Run Setup)
  CRV has no wired chambers...

## Slide 3: Motivation
Estimate position of muons using time and light yield differences

## Slide 4: Method
Test runs 1002,1005-1018 from June 2017
  beam position varied from 5 to 2250mm from FEB1 end
Used channels 2,3
Plotted Wire-chamber measured x-position
Plotted calculated x-position with formulae
  using arrival time difference on opposite ends of fiber
  using light yield difference on opposite ends of fiber
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
p+
*not to scale

## Slide 5: Time Difference Method (Using One Fiber, Channel 2)
FEB 1
FEB 2
2
1
l
x
0
2m
= 3m
2
2

## Slide 6: : Time Offset Correction
But...
FEB 1
FEB 2
0
1.5m
3m
2
1
Run 1007
Ideally:
2
2

## Slide 7: Time Difference Method (Using Both Fibers, Channels 2 &3)
One Fiber
Two Fibers

## Slide 8: Leading Edge Time vs. Peak Time
Two types of arrival times recorded by FEBs
  Leading edge (LE) time
  Peak time (or simply, time)

## Slide 9: Speed of Light Calculation
FEB 1
FEB 2
2
1
l
x
0
2m
= 3m
2
2
Run 1005

## Slide 10: Using Peak Time
vusing peak time ≈ 166.975mm/ns

## Slide 11: Using LE Time
vusing LE time ≈ 140.835mm/ns

## Slide 12
Position Plots
Run 1002

## Slide 13: Using Peak Time

## Slide 14: Using LE Time

## Slide 15
Position Plots
Run 1018

## Slide 16: Using Peak Time

## Slide 17: Using LE Time

## Slide 18: Correlation Plots

## Slide 19: Statistics
When both fibers are used, for both peak and LE time methods...
  standard deviation becomes smaller
  average position becomes less accurate

## Slide 20: Light Yield Difference Method
FEB 1
FEB 2
2
1
l
x
0
= 3m
2
2
light
light
?

## Slide 21: Approximating Unknown Attenuation Length (λ)

## Slide 22
Position Plots
Run 1002

## Slide 23: Using mm
= 4,500 mm

## Slide 24: Using mm
= 6,754 mm

## Slide 25
Position Plots
Run 1018

## Slide 26: Using mm
= 4,500 mm

## Slide 27: Using mm
= 6,754 mm